## Sheet2
MECHANICAL LAB NSPECTION
Location
Auditor(s) Name
Date
Machine Safety |  |  | YES | NO | N/A
1 | Rotating parts on machines are adequately guarded. (Collars, couplings, cams, clutches, flywheels, shaft ends, spindles, meshing gears, and horizontal or vertical shafting)
2 | In-running nip points are adequately guarded. (intermeshing gears, rolling mills, belt and its pulley, a chain and a sprocket, and a rack and pinion, rotating and fixed parts which create a shearing, crushing, or abrading action)
3 | Reciprocating motions are not creating struck by or caught between hazards
4 | Point of Operation hazards are adequately guarded. (cutters, shears, power press, milling machine, saws, jointers, forming rolls, portable power tools)
5 | Fan blades are adequately guarded (7 feet or opening less then ½ inch)
6 | Fixed machinery is anchored to prevent walking or moving
7 | Eye and face protection is being used when exposed to flying particles
8 | The machine is locked out when service or maintenance is being done
Chemical Storage
1 | There is a Chemical inventory list for the shop
2 | Safety Data Sheets (SDS) are readily available for all hazardous materials in the shop
3 | All hazardous substances are properly labeled
4 | Satellite accumulation areas for wastes are properly maintained
5 | Universal waste is labeled and stored properly (used florescent bulbls, batteries)
Compressed Air
1 | Air used for cleaning is regulated to 30 psi or less
2 | Pressure relieving tips are on all air hoses
3 | Hearing protection is worn while using compressed air
Compressed Gas Cylinders
1 | Gas cylinders properly secured
2 | Cylinder capped when not in use
3 | Fuel gases segregated from oxygen (>20 feet)
4 | Pressure relieved from valves on cylinders not in use
Fire Safety
1 | Flammable liquids are stored in approved flammable cabinets
2 | Flammable liquid cabinet is NOT located near ignition sources or exits
3 | Exits properly marked and aisles are unobstructed
4 | Fire extinguisher available and employee has been trained
Electrical Safety
1 | Damaged, defective equipment has been removed from service (missing ground prongs, cut or pinched cords)
2 | Hand-held power tools are either grounded or marked as 'double insulated'
3 | GFCIs are used in wet or damp locations
4 | Circuit breaker panels are unobstructed
5 | Extentsion cords are rated for heavy duty
6 | Extention cords are in good condition
7 | Extention cords are protected from damange (not run through doors, windows, on floors where they can be ran over with heavy equipment)
8 | The shop is free from recognized electrical hazards (missing knockouts, missing circuit breakers, missing/broken/damaged covers, exposed live electrical componenets)
9 | Are the emergency spill kits operational
Housekeeping
1 | The shop floor is free from slip, trip and fall hazards (water, oil, debrix etc.)
2 | Shop materials are stored in a safe manner (including scrap)
3 | Shop tools are safety stored and not left on machines
4 | Oily rags are stored in appropriate metal containers
General Safety
1 | Employees/students are not wearing loose clothings or jewelery
2 | Employee/student completed the machine shop safety training
3 | Long loose hair must be contained under a cap, scarf or other method
4 | An "Authorized Personnel Only" sign is posted
5 | Protective eyewear is worn when working on or near machines
6 | Manufacturer's manual or other reference manuals are available
7 | Eyewash station is available and properly maintained